## Retro-Fitting Form
SP Smart Solutions Inc
Rev:1
Project |  |  |  | Date:
Contact Person
Phone
Email
Existing Infrastructure
Electrical | Parameter | Unit | Value
| Operating Voltage | Vac
| Frequency | Hz
| Power Factor | k |  | if available
| In-rush Current | A |  | if available
| Circuit Breaker Rating per Group | A |  | if available
| Circuit Breaker Type | A,B, C, etc |  | if available
Optical | Parameter | Unit | Value
| CCT | K
| CRI | k |  | if available
| R9 | k |  | if available
| Beam Pattern | Circular/Oval |  | if available
| Beam Angle | Deg |  | if available
| Luminous Flux | lm |  | if available
| Illuminance | Lux |  | if available
| Visual Comfort |  |  | if available
Lamp Type | Parameter | Unit | Compact Fluorescent | Fluorescent Tube | LED Tube
| Power | W
| Colour Temperature | K
| Shape | n/a | Define here | T5 or T8 | T5 or T8
Lamp Type Preference This can be decided later
Mechanical | Lamp Dimension | In, Ft, mm | H= Dia = | L = | L =
| Socket if Any |  | E14, E17, GU, etc | 2 Pin Twist | 2pin Twist
| Housing Only (Exposed Lamp) | Yes / No
| Enclosed | pcs
| Qty of Fixture per Housing | pcs
Environment | Indoor | IP20
| Outdoor | IP65
| Outdoor | IP67
| Underwater | IP68
| Impact Resistance | IK
| Safety Certification Required | UL, EC, EN, Etc
Site | Lamp Distance to Floor | Ft, M
| Lamp to Lamp distance (X) | Ft, M |  | Parallel Distance
| Lamp to Lamp distance (Y) | Ft, M |  | In-line Distance
| Section Floor Area | Sq-Ft, Sq-M |  | Select a section that we can use as reference Section should be repeatative in other area
| Lamp Quantity Installed | pcs